## Calculator
What is the sperm concentration per mL based on sperm per hpf?
Spreadsheet prepared by David C. Sokal, MD (dsokal@fhi.org)
Scientist, Family Health International (www.fhi.org)
Based on:
1) Practical Laboratory Andrology by David Mortimer © 1994 Oxford Univ Press
Page 49 - volume / depth of field table
Appendix II, page 352 - visual field area / calibration
and
2) WHO laboratory manual for the Examination and processing of human semen, 5th Edition, 2010 © WHO, Geneva
Boxes 2.4 and 2.9 and Section 2.10
Calculator: Enter data in the yellow-highlighted cells.
The spreadsheet will calculate the number of sperm / mL, corresponding to
the number of sperm observed per high power field.
Field-of-view number or field number:
Size of cover slip in mm: |  | 22 | x | 22 |  | 20
| Surface area = | 484 | mm^2 |  |  | This number is usually shown on
the eyepiece lens.
Volume of drop in microL: |  | 10 |  |  |  | This number is different for
different microscopes. If you
Depth of field in microns: |  | 20.6612 |  |  |  | don't know the number, a common and
conservative # is 20 for a modern microscope.
Volume per high power field (hpf) at… | [5 empty] | This is the diameter of the field of view
| 400 X magification: | 4.0573 | nL |  |  | in millimeters, not the magnification.
| (10 x 40) |  |  |  |  | See next sheet for more details.
| 200 X magification: | 16.2293 | nL
(10 x 20)
| 100 X magification: | 64.9174 | nL
(10 x 10)
Sperm per high power field => sperm / mL
So if you see __ sperm in __ hpf, the
| Number of Sperm | per |  | Number of HPF |  | concentration per mL is:
@ 200x | 11 |  |  | 1 | = | 677784.8504 | sperm / mL
@ 400x | 1 |  |  | 3 | = | 82155.7394 | sperm / mL
For an observation of zero sperm, the
| No sperm per N hpf => less than X sperm / mL |  |  |  |  | confidence intervals, less than N sperm / mL, one-tailed are: *
|  | Number of HPF |  |  |  |  | 95% | 97.5% | 99%
|  |  | => | Less than:
@ 200x |  | 50 |  | 1232.3361 | sperm / mL |  | 3697.0083 | 4547.3202 | 5681.0694
@ 400x |  | 30 |  | 8215.5739 | sperm / mL |  | 24646.7218 | 30315.4679 | 37873.7959
* Based on Poisson distribution
Tables showing specific values, based on data entered above | [6 empty] | The upper limits for the expectation of a Poisson variable,
and using a field of view of 20 mm. | [6 empty] | based on an observation of zero sperm are:
[7 empty] | 95% | 97.5% | 99%
| N sperm/ 1 hpf => | Sperm / mL |  |  |  |  | 3 | 3.69 | 4.61
| Number of sperm | @ 200x |  | @ 400x |  |  | In other words, if you see zero sperm on microscopy,
| --------------------------------------------------------------------- | [5 empty] | the largest number that you might have missed,
| 1 | 61616.8046 |  | 246467.2183 |  |  | with 95% confidence, is 3 sperm.
| 2 | 123233.6092 |  | 492934.4367
| 3 | 184850.4137 |  | 739401.655 |  |  | The above numbers in cells I55 to K55 are used as
| 4 | 246467.2183 |  | 985868.8733 |  |  | multipliers for the confidence limits above.
| 5 | 308084.0229 |  | 1232336.0917
| 6 | 369700.8275 |  | 1478803.31
| 7 | 431317.6321 |  | 1725270.5283
| 8 | 492934.4367 |  | 1971737.7467
| 9 | 554551.2412 |  | 2218204.965 |  | Nombres de HPFs lorsqu'on observe 10microl sous une lame de 22x22
| 10 | 616168.0458 |  | 2464672.1833
[6 empty] | @ 400x | 2464.6722
1 sperm / N hpf => sperm / mL by magnification
| Number of hpf | @ 200x |  | @ 400x |  | @ 200x | 616.168
---------------------------------------------------------------------
| 1 | 61616.8046 |  | 246467.2183 |  | @ 100x | 154.042
| 2 | 30808.4023 |  | 123233.6092
| 3 | 20538.9349 |  | 82155.7394 |  | Volume observé lorsqu'on observe 50 HPFs
| 4 | 15404.2011 |  | 61616.8046 |  |  | nl | µl | 10µl
| 5 | 12323.3609 |  | 49293.4437 |  | @ 400x | 202.8667 | 0.20287 | 49.2934
| 6 | 10269.4674 |  | 41077.8697
| 7 | 8802.4007 |  | 35209.6026 |  | @ 200x | 811.4669 | 0.81147 | 12.3234
| 8 | 7702.1006 |  | 30808.4023
| 9 | 6846.3116 |  | 27385.2465 |  | @ 100x | 3245.8678 | 3.2459 | 3.0808
| 10 | 6161.6805 |  | 24646.7218
| 20 | 3080.8402 |  | 12323.3609
| 40 | 1540.4201 |  | 6161.6805
| 100 | 616.168 |  | 2464.6722
| 200 | 308.084 |  | 1232.3361
| 400 | 154.042 |  | 616.168

## Volume Calculations, WHO
Box 2.4 Depth of wet preparations
The depth of a preparation (D μm) is obtained by dividing the volume of the
sample (V, μl = mm^3) by the area over which it is spread (A, mm^2): D = V/A. Thus,
a volume of 10 μl of semen delivered onto a clean glass slide and covered with a
22 mm × 22 mm coverslip (area 484 mm^2) provides a chamber of depth 20.7 μm; a
6.5 μl sample covered with an 18 mm × 18 mm coverslip (area 324 mm^2) provides
a depth of 20.1 μm; an 11 μl sample covered by a 21 mm × 26 mm coverslip (area
546 mm^2) provides a depth of 20.1 μm. Occasionally, a deeper chamber may be
required: a 40 μl sample covered by a 24 mm × 50 mm coverslip (area 1200 mm^2)
provides a depth of 33.3 μm.
Box 2.9 Volume observed per HPF of a 20-μm-deep wet preparation
The volume of semen observed in each microscopic field depends on the area of
the field (pi*r^2, where pi is approximately 3.142 and r is the radius of the microscopic
field) and the depth of the chamber (20.7 μm for the wet preparation). The diameter
of the microscopic field can be measured with a stage micrometer or can be estimated
by dividing the diameter of the aperture of the ocular lens by the magnification
of the objective lens.
With a ×40 objective and a ×10 ocular of aperture 20 mm, the microscope field
has a diameter of approximately 500 μm (20 mm/40). In this case, r = 250 μm,
r^2 = 62 500 μm2, pi*r^2 = 196 375 μm^2 and the volume is 4 064 962 μm^3 or about 4 nl.
With a ×20 objective and a ×10 ocular of aperture 20 mm, the microscope field
has a diameter of approximately 1000 μm (20 mm/20). In this case, r = 500 μm,
r^2 = 250 000 μm2, pi*r^2 = 785 500 μm^2 and the volume is 16 259 850 μm^3 or about 16 nl.
NB: While the WHO manual uses the term "aperture" for the diameter of
the visual field, this terminology is not generally used as WHO has used it.
Per microscopy and optics experts, the preferred term would be.. " the 'field-of-view number'
or simply the 'field number' which is the diameter of the view field in millimeters."
See: http://www.microscopyu.com/articles/formulas/formulasfieldofview.html for
more details on this definition / terminology.